**厨房设备灭火装置Restaurant Fire Suppression Device**

**表格 Form B07**

|  |  |  |
| --- | --- | --- |
| **系统描述/技术参数Description of System / Technical Information:** | | |
| **厨房设备灭火装置型号Type of Restaurant Fire Suppression Devices： ANSUL R-102**  **药剂瓶数量Quantity×容积 Capacity of Cylinders：**  {{YJCount}}  **喷头数量Quantity of Detectors： 9**  **气瓶数量Quantity×驱动气瓶容积 Capacity of Pilot Cylinders： {{QDCount}}** | | |
| **检验和试验**  **Description of Inspection/Tests** | **□全部检验Complete Inspection**  **■局部检验Partial Inspection** | **备注**  **Remarks** |
| **□1.灭火剂检查**  **Fire extinguishing agent inspection** | |  |
| **□2.驱动气瓶检查**  **Check the drive cylinder** | |  |
| **□3.熔线、喷嘴和防污帽检查**  **Fusible Link, Nozzles and blow-off caps inspection** | |  |
| **□4.手动启动试验**  **Manual start test** | |  |
| **□5.自动启动试验**  **Automatic startup test** | |  |
| **□6.管网和喷嘴吹扫试验**  **Distribution piping and nozzles tested for blowing through out** | |  |
| **□7.储罐水压试验**  **Water pressure test of storage tank** | |  |
| **□8.调节器流量测试**  **Regulator flow test** | |  |

**■已执行Carried out □未执行或不适用Not carried out or not appliance**

|  |  |  |  |
| --- | --- | --- | --- |
| **介质类型Type of Agents** | **药剂瓶** | **检验温度Temperature** | **5℃** |
| **工作代号Description of Working Codes(Performed/Recommended):** | | | |
| **1=外观检查Inspected**  **3=液位检查Contents Checked by Level**  **5=压力检查Contents Checked by Pressure**  **7=水压试验Hydro Test** | | **2=重量检查Contents Checked by Weight**  **4=充装Recharged**  **6=维修 Repaired**  **8=检验日期标签Inspection Date Label Attached** | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **检验标签** | **瓶号** | **瓶重/kg** | **药剂量/kg** | **容积/L** | **生产厂家** | **生产日期** | **工作代号** | **检测判定** |
| {{#YJRows}} |  |  |  |  |  |  |  |  |