中海油安全技术服务有限公司

CNOOC Safety & Technology Services Co., Ltd.

{{oil\_name}}消防设备设施

检验证书

证书编号XF-201901A-0121-000

****

本次检验日期 {{Date}}

公司地址: 天津市滨海新区塘沽滨海新村东区

Company Address: East Area Binhai New Village, Tanggu, Binhai New Area, Tianjin

电话Tel: 0086-22-25809848 邮编 P.C. 300452

传真Fax:0086-22-25809848 电邮E-mail: Sh\_aqgc@cnooc.com.cn

兹证明中海油安全技术服务有限公司下列署名检验师，应\*\*\*（手填）的要求，于{{Date}}及其后诸日在{{platform}}，根据：GA 95-2015灭火器维修，GB 8109-2005推车式灭火器，MSC.1-Circ.1432消防设备维护检查指南对其所属的消防设备进行了检测检验，已确定其技术状况。

This is to certify that the undersigned surveyor from CNOOC Safety & Technology Services Co., Ltd. at the request of \*\* on Jan. 21, 2019 and the subsequent days, did attend the inspection and survey to the fire-fighting system of \*\*, according to the following P. R. C. standards：GA 95-2015 Service for fire extinguishers , GB 8109-2005 Wheeled fire extinguishers，MSC.1-Circ.1432 Revised guidelines for the maintenance and inspection of fire protection systems and appliances.

**检验项目**

|  |  |  |  |
| --- | --- | --- | --- |
| **■灭火器Fire Extinguishers**  **■固定式灭火系统Fixed Fire Extinguishing System**  **■消防员装备和EEBD Marine Fireman's Outfit & EEBD**  **■船用钢瓶Marine Steel Bottles**  **■火灾自动报警系统Automatic Fire Alarm System** | | | **依据表格 as per form A**  **依据表格 as per form B**  **依据表格 as per form C**  **依据表格 as per form D**  **依据表格 as per form E** |
| **■B01：二氧化碳灭火系统CO2 Fire Extinguishing System**  **■B03：惰性气体灭火系统 Inert Gas Fire Extinguishing System**  **■B05：干粉灭火系统Powder Extinguishing Systems**  **■B07：厨房设备灭火装置Restaurant Fire Suppression Device**  **■B09：海水雨淋灭火系统Automatic Sprinkler System** | | **■B02：七氟丙烷灭火系统 FM200 Fire Fighting System**  **■B04：气溶胶灭火系统Aerosol Fire Extinguishing System**  **■B06：泡沫灭火系统 FOAM Fire Extinguishing System**  **■B08：消防水系统 Fire-fighting Water System** | |
| **备注**  **REMARKS** |  | | |